|  | 2007 Planned Evaluation Studies | Type | Estimated Cost to CT Utilities | Priority | Study Parameters |
| --- | --- | --- | --- | --- | --- |
|  | Residential |  |  |  |  |
| New | Residential Lighting | Persistence of Technology (measure life) | $40,000 | Very High | Regional Study to examine persistence of CFLs and fixtures. Study will inventory all efficient lighting during site visits to assess how many bulbs are still in use (and # added beyond the direct or indirect install), how many stored, reasons for removals |
|  |  | Preparatory Study: Sample Collection | $30,000 | Very High | Create a database of lighting markdown customers willing to participate in future studies. Design likely to involve providing an incentive to customers electing to participate and then assembling a database of these customers. |
|  |  | Peak Performance | $90,000 | Very High | Winter peak information -What Sockets are on at peaks and what sockets are CFLs going into? Requires lighting loggers analyzed by room location. |
| New | Ductless Heat Pump | Impact & Customer Acceptance | Phase 1: $70,000 Phase 2: costs in 2008 | Very High | Include summer peak impacts (winter in 08: phased impact study). |
| New | Early Implementation Review of Whole House Approach | Field Review | $20,000 | High | Need data review to look at early program to assess adoption rate, measures installation, costs. Customer surveys to look at satisfaction issues. |
|  | WRAP and UI-Helps Low Income Market Assessment - | Market Assessment | $0.00 | Low | Priority low for additional study but DPUC direction needed in order to take advantage of recommendations made in last year's evaluation. |
| Cut | ES Homes/ Residential New Construction Study - baseline/process study of what builders are really building and why builders participate; do builders value the Energy Star or are Companies just giving them money for what they already would do anyway. | Baseline & Process | NA | Very Low (Not Needed) | Very Low. More interested in a sharp look at the disposition for upgrading building codes and/or utility service requirements using RESNET providers. |
| Cut | HVAC Tune-Up program impact evaluation - Determine what the Honeywell-tool based tune-ups actually save in kW and kWh. Participant/non-participant research; on-site assessments. | Impact | NA | Very Low (Not Needed) | Understanding how to effect quality installations of AC systems is more important than understanding of Honeywell tool. Not an evaluation issue |
| Cut | Residential "Whole House Approach" Study: This study will look at what other utilities are doing for the Whole House approach vs. less comprehensive approaches. It will also look at how successful a whole house approach may be with builders and homeowners. | Baseline & Market Characterization | NA | Very Low (Not Needed) | Alternatives that address individual technologies appear to be more fruitful. These substitutes are outlined above. |
|  | TOTAL ESTIMATED COST - Residential |  | $250,000 |  |  |

|  | 2007 Planned Evaluation Studies | Type | Estimated Cost | Priority | Study Parameters |
| --- | --- | --- | --- | --- | --- |
|  | Commercial / Industrial |  |  |  |  |
|  | Energy Conscious Blueprint Market Study | Market Assessment | $60,000 | Very High | Market work that gauges awareness in the design community of the new code and of how to meet it. Assessment of how to deliver services to maximize savings. |
|  | Market Opportunities in Existing Buildings | Accelerated Chiller Replacement | $75,000 | Very High | Numbers of chillers in each of several categories: size, age, geographic location. Market factors including owner disposition to change-out, first cost barriers |
| New |  | Roof Top Unit Replacement | $75,000 | Very High | Natural replacement rates, potential for accelerated replacement. Savings potential. Barriers to implementation. |
|  |  | Lighting Remodeling/ Retrofit/ Renovation | $150,000 | Very High | Amount of T12 and older T8 building space still available for retrofit. Amount of high pressure sodium and older lighting technologies in outdoor locations. |
|  | EO Process and Market Evaluation PY 2006 | Market Assessment Barriers to Participation | $60,000 | Very High | Strategic approaches to engage non-participants & to get more comprehensive; where are we going with EO in the light of CT's future challenges? Why are most participating customers not fully implementing measures? Staged Approach. |
| New | C&I Lighting Peak Impacts and Coincidence (follow up to SPWG/RLW study) | Peak Impact and Coincidence | $75,000 | High | High. Regional study on additional information needs for FCM (building type, measure type, 100/200 kW split). Additional RLW phase |
| New | C&I HVAC Peak Impacts and Coincidence | Peak Impact and Coincidence | $50,000 | High | High. Summer peak impact and coincidence factors for FCM. Regional. Systems and measures will include rooftop and package units |
|  | C&I Measure Persistence of Savings Study | Impact | $40,000 | Medium/ High | Peak impacts related to FCM. May be useful as a regional study. |
| New | Prescriptive Measures | Peak Impact and Coincidence | $50,000 | Medium/ High | Custom impacts (regional). Compare values with other utilities in region in interim, for consistency |
|  | Small Business Energy Advantage Impact Study of PY 2006: Energy and Coincidence factors of measures. Also a market assesment/potential of what has been done, what is left? | Impact & Market Assessment | NA | Medium | Priority impact work through Market Opportunities study will be important for future resource potential considerations. Hold for now |
| Cut | CT Maximum Potential Study (GDS): similar to study completed in 2004, this will examine maximum savings and demand savings assuming expanded C&LM funding levels. | Market Assessment | NA | Low | High for market opportunities (key future and remaining resources) study, instead of maximum achievable potential (None) See Above for Substitute Studies. |
|  | TOTAL ESTIMATED COST - C&I |  | $635,000 |  |  |
|  | GRAND TOTAL 2007 Evaluations |  | $885,000 |  |  |

|  | 2008 Planned Evaluation Studies | Type | Estimated Cost CT Utilities | Priority | Study Parameters |
| --- | --- | --- | --- | --- | --- |
|  | Residential |  |  |  |  |
| New | Ductless Heat Pump | Impact & Customer Acceptance | Phase 2: $90,000? | Very High | Include summer and winter peak impacts (phased impact study). |
| New | Residential Central Air Conditioning Peak Impacts and Coincidence | Peak Impact and Coincidence | $80,000 | High | Summer peak impact and coincidence factors for FCM. Central A/C in 2008. Regional |
|  | Residential and Small Commercial Load Control & Direct Load Control Study: to encompass all potentially viable technologies, including A/C, pool pumps, pool heaters, etc., and user interface and info/control strategies | Best practices, market, process and technical implementation study. | $70,000 | High | Comparative analysis and research to determine parameters of future programs. Want information on how many customers would be willing to accept load control and what incentives might be needed. Expect that technologies and customer acceptance will change quickly over the next few years. |
|  | EeSmarts Process Evaluation (if DPUC orders) | Process | $50,000 | DPUC order | Examine the results of program design changes in terms of disseminating materials to appropriate educators and promoting learning and activities that result in increased student knowledge of energy efficiency. |
|  | TOTAL ESTIMATED COST RESIDENTIAL |  | $290,000 |  |  |

|  | 2008 Planned Evaluation Studies | Type | Estimated Cost CT Utilities | Priority | Study Parameters |
| --- | --- | --- | --- | --- | --- |
|  | Commercial/Industrial |  |  |  |  |
|  | Market Opportunities Study: Emerging and Under-utilized Measures | Market Assessment | $75,000 | Medium | Technologies should include solid state lighting, high performance display lighting, advanced HVAC, etc. Examine viability of including high performance building/system designs in programs. |
| New | Prescriptive Measures | Peak Impact and Coincidence | $50,000 | Medium/ High | Custom impacts study may be done as regional effort. Compare values with other utilities in region in interim, for consistency |
| New | Retrocommissioning Update and Process Follow-up | Process, Market Follow-up | $45,000 | Medium | Process update of revised approach and customer targeting, reviewing recent projects. Also follow-up on first projects to assess measure installation and any additional actions. |
|  | C&I Free Ridership and Spillover Study for PY 2006 | Impact | Cost in 09 |  |  |
|  | C&I Measure Persistence of Savings Study | Impact | $75,000 | Medium/ High | Examine rates of business turnover in program participants. What happens to measures/processes when business leaves building? May be useful as a regional study. |
|  | TOTAL ESTIMATED COST C&I |  | $245,000 |  |  |
|  | GRAND TOTAL |  | $535,000 |  |  |