## Project Data
2022 EnergizeCT Commercial & Industrial New Construction/Major Renovation Data Collection v 2.1 | Version Date: 7-27-2022
For additional program information: http://www.energizect.com/businesses/programs/Energy-Conscious-Blueprint
To be eligible to receive an incentive payment the participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures. In addition to this data collection, submit a full set of building plans & relevant specification sheets, submittals, and/or proposals for every measure you are submitting for. If you don't know which EEC will manage this project, email this form and the backup documentation to commercial@eversource.com .
Facility Information |  | Type of Project
Facility Name |  | New facility
Facility Street Address |  | Addition to existing facility
Facility City, State Zip |  | Major renovation
Facility Type (drop down) |  | Major renovation plus addition
Electric Utility Company Name
Electric Utility Account Number (if known)
Natural Gas Utility Company Name
Natural Gas Utility Account Number (if known)
Which is this project: new facility, addition to existing facility, major renovation, or major renovation plus addition?
Estimated Project Completion Date
Square Footage of Project
Approximate Weekly or Annual Occupied Hours
Customer Information
Customer Contact Name
Customer Contact Title
Customer Company Name
Customer Contact Email Address
Customer Contact Phone Number
Customer Street Address (if different from facility address)
Customer City, State Zip (if different from facility address)
Payee Information (include a W-9 with submission)
Incentive Check Payable to Name (INCLUDE A W-9)
Incentive Check Payable to Street Address
Incentive Check Payable to City, State, Zip
There are multi-end use incentives available for projects that includes a minimum of 3 end uses. An end use is defined as natural gas or electric that impact heating; cooling; lighting; process; domestic water heating; refrigeration; motors and drives. The incentive is an additional $0.10/kWh saved and/or $1.00/ccf, capped at $20,000. If eligible, this incentive will be added after all savings analyses are completed.

## Project Summary
Measures: | Included In Project:
Lighting & Controls
1- Interior Lighting & NLC | No
2- Occupancy Sensors | No
3- Network Lighting Controls | No
4- Exterior Lighting | No
HVAC & Controls | No
5- Unitary & Split DX | No
6- Air Source Heat Pumps | No
7- Water Source Heat Pumps | No
8- VRF-VRV | No
9- VFDs | No
10- Chillers | No
11- Energy Recovery | No
12- DCV (CO2 control) | No
13- Natural Gas Heating | No
14- Electric & Natural Gas Hot Water | No
Commercial Kitchen | No
15- Kitchen Appliances/ Cooking Equipment | No
16- Cooking Equipment | No
17- Kitchen Hood VFDs | No
Building Envelope | No
18- Insulation | No
19- Windows | No
Custom | No
20- Custom Measure | No
Manufacturing | No
21- Air Compressor & Dryer | No
22- Air Compressor Heat Recovery | No
Notes:

## 1- Interior Lighting & NLC
Click to go back to the project summary tab | Interior Lighting Fixture Schedule with Quantities
| Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN | [6 empty] | 1.1- Interior Lighting & High Perf. Guidelines
| Facility Type | [10 empty] | Yes
| Square footage of lit area | [10 empty] | No
| Baseline calculation method | [10 empty] | I Don't Know
| Is this project installing a Networked Lighting Control (NLC) System? | [10 empty] | No HVAC
If yes, provide NLC Brand & System name
If yes, is the NLC System capable of energy monitoring and demand response?
Do HVAC Units Have Economizers?
≥ 30% of floor in Daylight Zone w/ controls? *Only applicable to Office and Retail Building Types
Project must be 100% LEDs to qualify for incentives
The minimum incentive is earned at 10% below code lighting power, the maximum incentive is achieved at 40% or more below energy code. The incentive can be calculated by: (project gross lighted square foot) x (percent better than code $/sf cap). For projects at or greater than 30,000 square feet fixture caps also apply: LEDs less than 30 watts $30.00/fixture, LEDs 30 watts and greater $150.00/fixture. LED fixtures or lamps are required to be UL listed and are highly recommended to be Design Lights Consortium (DLC) or Energy Star’s Qualified Products.
| Incentives for LED only projects | [6 empty] | Incentives for LED Fixtures with Networked Lighting Controls System
| Design % Better than Code |  | $/sf cap |  |  |  |  | Greater of $0.65/kWh saved or $1,000/summer peak kW saved, capped at 65% of incremental cost
| 40% |  | 0.5 |  |  |  |  | Requirements: 80% of project load must utilize a networked lighting control system, as defined by DLC, with all controlled LED fixtures wirelessly accessible to initialize, configure, and commission. Individual fixture addressability and luminaire level lighting control (LLLC) and compliance with LLLC capabilities as outlined by DLC is optional. Must include and demonstrate a minimum of one control strategy per fixture and two different control strategies at the project level (e.g. occupancy, daylighting, task tuning/high end trim). System must be capable of energy monitoring and demand response, as defined by DLC. Customer must also provide control narrative for the system and six months of energy monitoring data, and it must be fully commissioned with reporting and demonstrated demand response capability.
| 35% |  | 0.438
| 30% |  | 0.375
| 25% |  | 0.313
| 20% |  | 0.25
| 15% |  | 0.188
| 10% |  | 0.125
FOR NLC PROJECTS ONLY
| Fixture Code (optional) | Total Quantity of New Fixtures | Quantity of Existing Fixtures Remaining | Fixture Description *INCLUDE A SPEC SHEET FOR EACH FIXTURE WHEN YOU SUBMIT THIS FORM* | LED (yes/no) | Fixture Wattage | Total Wattage For This Fixture | Is This Fixture Utilizing Occupancy Sensors? (YES or NO) | Is This Fixture Utilizing Daylight Controls (YES or NO) | High End Trim % (Enter as decimal) | Incremental Cost for Entire NLC System (controls, commissioning, install, design)
| A (EXAMPLE PROJECT) | 12 | 0 | EXAMPLE: Fixture Manufacturer & Full Model # (provide spec sheet) | Yes | 44 | 528 | YES | YES | 0.9
| B (EXAMPLE PROJECT) | 10 | 0 | EXAMPLE: Fixture Manufacturer & Full Model # (provide spec sheet) | Yes | 60 | 600 | YES | YES | 0.9
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Totals | 0 | 0 |  |  |  | 0
Provide any additional information relevant to this project.
Note on J27: Specific occupancy data must be filled out on the "2 - Occupancy Sensors" tab
Note on L27: Enter the proposed maximum light output, if the LED will have a High End Trim level set.

## 1.1 High Perf. Guidelines
Click to go back to the Interior Lighting & NLC

## Interior BuildingAreaBaselines
Building Type | Baseline Building Area LPD (Watts/sqft) | Target LPD For 10% Reduction (Watts/sqft) | Target LPD For 40% Reduction (Watts/sqft)
Automotive facility | 0.8 | 0.72 | 0.48
Convention center | 1.01 | 0.91 | 0.61
Courthouse | 1.01 | 0.91 | 0.61
Dining: bar lounge/leisure | 1.01 | 0.91 | 0.61
Dining: cafeteria/fast food | 0.9 | 0.81 | 0.54
Dining: family | 0.95 | 0.86 | 0.57
Dormitory | 0.57 | 0.51 | 0.34
Exercise center | 0.84 | 0.76 | 0.5
Fire station (unmanned) | 0.67 | 0.6 | 0.4
Gymnasium | 0.94 | 0.85 | 0.56
Health care clinic | 0.9 | 0.81 | 0.54
Hospital | 1.05 | 0.95 | 0.63
Hotel/Motel | 0.87 | 0.78 | 0.52
Library | 1.19 | 1.07 | 0.71
Manufacturing facility | 1.17 | 1.05 | 0.7
Motion picture theater | 0.76 | 0.68 | 0.46
Multifamily | 0.51 | 0.46 | 0.31
Museum | 1.02 | 0.92 | 0.61
Office | 0.82 | 0.74 | 0.49
Parking garage | 0.21 | 0.19 | 0.13
Penitentiary | 0.81 | 0.73 | 0.49
Performing arts theater | 1.39 | 1.25 | 0.83
Police station (24/7) | 0.87 | 0.78 | 0.52
Post office | 0.87 | 0.78 | 0.52
Religious building | 1 | 0.9 | 0.6
Retail | 1.26 | 1.13 | 0.76
School/university | 0.87 | 0.78 | 0.52
Sports arena | 0.91 | 0.82 | 0.55
Town hall | 0.89 | 0.8 | 0.53
Transportation | 0.7 | 0.63 | 0.42
Warehouse | 0.66 | 0.59 | 0.4
Workshop | 1.19 | 1.07 | 0.71
Always check with a lighting professional to ensure the lighting levels are appropriate for the tasks being performed in the space.
Baselines From
IECC 2015

## 1A- Space by Space
Space by Space Area Types
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
| Area for each Space Type (sq ft) | Space Type |  | Area for each Space Type (sq ft) | Space Type | Area for each Space Type (sq ft) | Space Type
|  | Common Space Types |  |  | Common Space Types |  | Common Space Types
|  |  | Atrium Height (ft.) |  | Laboratory - In or as a classroom |  | Healthcare facility - In an exam/treatment room
|  | Atrium – 40 feet or less |  |  | Laboratory - Otherwise |  | Healthcare facility - In an imaging room
|  | Atrium – Above 40 feet |  |  | Laundry/washing area |  | Healthcare facility - In a medical supply room
|  | Audience/seating area - In an auditorium |  |  | Loading dock, interior |  | Healthcare facility - In a nursery
|  | Audience/seating area - In a convention center |  |  | Lobby - In a facility for the visually impaired (and not used primarily by the staff) |  | Healthcare facility - In a nurse’s station
|  | Audience/seating area - In a gymnasium |  |  | Lobby - For an elevator |  | Healthcare facility - In an operating room
|  | Audience/seating area - In a motion picture theater |  |  | Lobby - In a hotel |  | Healthcare facility - In a patient room
|  | Audience/seating area - In a penitentiary |  |  | Lobby - In a motion picture theater |  | Healthcare facility - In a physical therapy room
|  | Audience/seating area - In a performing arts theater |  |  | Lobby - In a performing arts theater |  | Healthcare facility - In a recovery room
|  | Audience/seating area - In a religious building |  |  | Lobby - Otherwise |  | Library - In a reading area
|  | Audience/seating area - In a sports arena |  |  | Locker room |  | Library - In the stacks
|  | Audience/seating area - Otherwise |  |  | Lounge/breakroom - In a healthcare facility |  | Manufacturing facility - In a detailed manufacturing area
|  | Banking activity area |  |  | Lounge/breakroom - Otherwise |  | Manufacturing facility - In an equipment room
|  | Classroom/lecture hall/training room - In a penitentiary |  |  | Office - Enclosed |  | Manufacturing facility - In an extra high bay area (greater than 50 ' floor to ceiling height)
|  | Classroom/lecture hall/training room - Otherwise |  |  | Office - Open plan |  | Manufacturing facility - In a high bay area (25-50' floor to ceiling height)
|  | Conference/meeting/multipurpose room |  |  | Parking area, interior |  | Manufacturing facility - In a low bay area (less than 25' floor to ceiling height)
|  | Copy/print room |  |  | Pharmacy area |  | Museum - In a general exhibition area
|  | Corridor - In a facility for the visually impaired (and not used primarily by the staff) |  |  | Restroom - In a facility for the visually impaired (and not used primarily by the staff) |  | Museum - In a restoration room
|  | Corridor - In a hospital |  |  | Restroom - Otherwise |  | Performing arts theater—dressing room
|  | Corridor - In a manufacturing facility |  |  | Sales area |  | Post Office—Sorting Area
|  | Corridor - Otherwise |  |  | Seating area, general |  | Religious buildings - In a fellowship hall
|  | Courtroom |  |  | Stairwell |  | Religious buildings - In a worship/pulpit/choir area
|  | Computer room |  |  | Storage room |  | Retail facilities - In a dressing/fitting room
|  | Dining area - In a penitentiary |  |  | Vehicular maintenance area |  | Retail facilities - In a mall concourse
|  | Dining area - In a facility for the visually impaired (and not used primarily by the staff) |  |  | Workshop |  | Sports arena—playing area - For a Class I facility
|  | Dining area - In bar/lounge or leisure dining |  |  | Facility for the visually impaired - In a chapel (and not used primarily by the staff) |  | Sports arena—playing area - For a Class II facility
|  | Dining area - In cafeteria or fast food dining |  |  | Facility for the visually impaired - In a recreation room (and not used primarily by the staff) |  | Sports arena—playing area - For a Class III facility
|  | Dining area - In family dining |  |  | Convention Center—exhibit space |  | Sports arena—playing area - For a Class IV facility
|  | Dining area - Otherwise |  |  | Dormitory—living quarters |  | Transportation facility - In a baggage/carousel area
|  | Electrical/mechanical room |  |  | Fire Station—sleeping quarters |  | Transportation facility - In an airport concourse
|  | Emergency vehicle garage |  |  | Gymnasium/fitness center - In an exercise area |  | Transportation facility - At a terminal ticket counter
|  | Food preparation area |  |  | Gymnasium/fitness center - In a playing area |  | Warehouse—storage area - For medium to bulky, palletized items
|  | Guest room |  |  |  |  | Warehouse—storage area - For smaller, hand carried items
[6 empty] | 0 | TOTAL SF
Provide any additional information relevant to this project.

## lists (hidden)
Area Types | Units | Building Area Method | Dusk | Dawn
Parking Areas and Drives - Uncovered | Sqft of Lit Area | Space by Space Calculation, see Space by Space tab | 4 PM | 11 PM
Building Grounds -Walkways Less Than 10' Wide | Lineal Feet |  | 5 PM | Midnight
Building Grounds - Walkways 10' Wide or Greater, Plaza Areas, or Special Feature Areas | Sqft of Lit Area |  | 6 PM | 1 AM
Building Grounds - Stairways | Sqft of Lit Area |  | 7 PM | 2 AM
Building Grounds - Pedestrian Tunnels | Sqft of Lit Area |  | 8 PM | 3 AM
Building Entrance and Exit - Main Entries | Lineal Feet |  | 9 PM | 4 AM
Building Entrance and Exit - Other Doors | Lineal Feet |  | 10 PM | 5 AM
Building Entrance and Exit - Entry Canopies | Sqft of Lit Area |  | 11 PM | 6 AM
Sales Canopies - Free-Standing and Attached | Sqft of Lit Area |  | Midnight | 7 AM
Outdoor Sales - Open Areas (including vehicle sales lots) | Sqft of Lit Area
Outdoor Sales - Street Frontage For Vehicle Sales Lots | Lineal Feet
Building Facades | Sqft of Lit Area
Automated Teller Machines and Night Depositories | Qty of Sites
Entrances and Gate-House Inspection Stations | Sqft of Lit Area
Loading Areas for Law Enforcement, Fire, Ambulance | Sqft of Lit Area
Drive-up Windows | Qty of Sites
Parking Near 24 Hour Retail Entrances | Qty of Sites
Yes
No
N/A (not applicable)

## 2- Occupancy Sensors
Click to go back to the Project Summary tab | Occupancy Sensors
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Incentive: $20/occupancy sensor
*Occupancy sensors can only qualify if they are not used to satisfy code requirements. Under IECC 2015 occupancy sensors are required in classrooms, conference/meeting rooms, copy/print rooms, lounges, employee lunch and break rooms, private offices, restrooms, storage rooms, janitorial closets, locker rooms, warehouse, and other spaces 300 square feet or less enclosed by floor-to-ceiling height partitions and the occupancy sensors must be a second level of automated control
| *Fixture Code (Match to the fixture code used in the interior lighting tab) | Quantity of Fixtures Under Occupancy Control | Quantity of Occupancy Sensors To Be Installed | Space Type |  | *Fixture Code (Match to the fixture code used in the interior lighting tab) | Quantity of Fixtures Under Occupancy Control | Quantity of Occupancy Sensors To Be Installed | Space Type | *Fixture Code (Match to the fixture code used in the interior lighting tab) | Quantity of Fixtures Under Occupancy Control | Quantity of Occupancy Sensors To Be Installed | Space Type
|  |  |  | Common Space Types |  |  |  |  | Common Space Types |  |  |  | Common Space Types
[5 empty] | Atrium Height (ft.) |  |  |  | Laboratory - In or as a classroom |  |  |  | Healthcare facility - In an exam/treatment room
|  |  |  | Atrium – 40 feet or less |  |  |  |  | Laboratory - Otherwise |  |  |  | Healthcare facility - In an imaging room
|  |  |  | Atrium – Above 40 feet |  |  |  |  | Laundry/washing area |  |  |  | Healthcare facility - In a medical supply room
|  |  |  | Audience/seating area - In an auditorium |  |  |  |  | Loading dock, interior |  |  |  | Healthcare facility - In a nursery
|  |  |  | Audience/seating area - In a convention center |  |  |  |  | Lobby - In a facility for the visually impaired (and not used primarily by the staff) |  |  |  | Healthcare facility - In a nurse’s station
|  |  |  | Audience/seating area - In a gymnasium |  |  |  |  | Lobby - For an elevator |  |  |  | Healthcare facility - In an operating room
|  |  |  | Audience/seating area - In a motion picture theater |  |  |  |  | Lobby - In a hotel |  |  |  | Healthcare facility - In a patient room
|  |  |  | Audience/seating area - In a penitentiary |  |  |  |  | Lobby - In a motion picture theater |  |  |  | Healthcare facility - In a physical therapy room
|  |  |  | Audience/seating area - In a performing arts theater |  |  |  |  | Lobby - In a performing arts theater |  |  |  | Healthcare facility - In a recovery room
|  |  |  | Audience/seating area - In a religious building |  |  |  |  | Lobby - Otherwise |  |  |  | Library - In a reading area
|  |  |  | Audience/seating area - In a sports arena |  | REQUIRED BY ENERGY CODE |  |  | Locker room |  |  |  | Library - In the stacks
|  |  |  | Audience/seating area - Otherwise |  | REQUIRED BY ENERGY CODE |  |  | Lounge/breakroom - In a healthcare facility |  |  |  | Manufacturing facility - In a detailed manufacturing area
|  |  |  | Banking activity area |  | REQUIRED BY ENERGY CODE |  |  | Lounge/breakroom - Otherwise |  |  |  | Manufacturing facility - In an equipment room
| REQUIRED BY ENERGY CODE |  |  | Classroom/lecture hall/training room - In a penitentiary |  | REQUIRED BY ENERGY CODE |  |  | Office - Enclosed |  |  |  | Manufacturing facility - In an extra high bay area (greater than 50 ' floor to ceiling height)
| REQUIRED BY ENERGY CODE |  |  | Classroom/lecture hall/training room - Otherwise |  |  |  |  | Office - Open plan |  |  |  | Manufacturing facility - In a high bay area (25-50' floor to ceiling height)
| REQUIRED BY ENERGY CODE |  |  | Conference/meeting/multipurpose room |  |  |  |  | Parking area, interior |  |  |  | Manufacturing facility - In a low bay area (less than 25' floor to ceiling height)
| REQUIRED BY ENERGY CODE |  |  | Copy/print room |  |  |  |  | Pharmacy area |  |  |  | Museum - In a general exhibition area
|  |  |  | Corridor - In a facility for the visually impaired (and not used primarily by the staff) |  |  |  |  | Restroom - In a facility for the visually impaired (and not used primarily by the staff) |  |  |  | Museum - In a restoration room
|  |  |  | Corridor - In a hospital |  | REQUIRED BY ENERGY CODE |  |  | Restroom - Otherwise |  |  |  | Performing arts theater—dressing room
|  |  |  | Corridor - In a manufacturing facility |  |  |  |  | Sales area |  |  |  | Post Office—Sorting Area
|  |  |  | Corridor - Otherwise |  |  |  |  | Seating area, general |  |  |  | Religious buildings - In a fellowship hall
|  |  |  | Courtroom |  |  |  |  | Stairwell |  |  |  | Religious buildings - In a worship/pulpit/choir area
|  |  |  | Computer room |  | REQUIRED BY ENERGY CODE |  |  | Storage room |  |  |  | Retail facilities - In a dressing/fitting room
|  |  |  | Dining area - In a penitentiary |  |  |  |  | Vehicular maintenance area |  |  |  | Retail facilities - In a mall concourse
|  |  |  | Dining area - In a facility for the visually impaired (and not used primarily by the staff) |  |  |  |  | Workshop |  |  |  | Sports arena—playing area - For a Class I facility
|  |  |  | Dining area - In bar/lounge or leisure dining |  |  |  |  | Facility for the visually impaired - In a chapel (and not used primarily by the staff) |  |  |  | Sports arena—playing area - For a Class II facility
|  |  |  | Dining area - In cafeteria or fast food dining |  |  |  |  | Facility for the visually impaired - In a recreation room (and not used primarily by the staff) |  |  |  | Sports arena—playing area - For a Class III facility
|  |  |  | Dining area - In family dining |  |  |  |  | Convention Center—exhibit space |  |  |  | Sports arena—playing area - For a Class IV facility
|  |  |  | Dining area - Otherwise |  |  |  |  | Dormitory—living quarters |  |  |  | Transportation facility - In a baggage/carousel area
|  |  |  | Electrical/mechanical room |  |  |  |  | Fire Station—sleeping quarters |  |  |  | Transportation facility - In an airport concourse
|  |  |  | Emergency vehicle garage |  |  |  |  | Gymnasium/fitness center - In an exercise area |  |  |  | Transportation facility - At a terminal ticket counter
|  |  |  | Food preparation area |  |  |  |  | Gymnasium/fitness center - In a playing area | REQUIRED BY ENERGY CODE |  |  | Warehouse—storage area - For medium to bulky, palletized items
|  |  |  | Guest room | [5 empty] | REQUIRED BY ENERGY CODE |  |  | Warehouse—storage area - For smaller, hand carried items
Provide any additional information relevant to this project.

## 21- Daylighting (hidden)
Interior Lighting - Daylighting Sensors
Project: |  | #REF!
Lighting Schedule: Months included (input 0 if month not included in analysis and 1 if it is)
| January | February | March | April | May | June | July | August | September | October | November | December
Months
|  |  |  | Fill Out: | Units | Fill Out (EXAMPLE): | Units (EXAMPLE):
| Total Window Area in daylit zones |  |  |  | SF | 100 | SF
| Total Wall Area (with windows) in daylit zones |  |  |  | SF | 300 | SF
| Window to Wall Ratio** (Total Window Area/Total Wall Area) |  |  | #DIV/0! | % | 33% | % | **A MINIUM OF 30% WINDOW TO WALL RATIO IS REQUIRED TO QUALIFY FOR INCENTIVES
| Daylighting Zone Area* |  |  |  | SF | 100 | SF
| Total Number of Sensors |  |  |  |  | 6
| Cost to add Daylighting System to project including design, installation and commissioning |  |  |  |  | 950
| Floor and Lighting Plan Attached? |  |  | Yes | Notes:
*Fixtures must be within the daylighting zone as defined by ASHRAE 90.1 - 2010 and not required by IECC 2012
| Controlled Fixture Schedule | [6 empty] | Lighting Schedule
| Fixture designation |  |  | Quantity of fixtures under control | Wattage | Total wattage |  |  | Start Time | End Time
[6 empty] | 0 |  | Weekday | N/A | N/A
[6 empty] | 0 |  | Saturday | N/A | N/A
[6 empty] | 0 |  | Sunday | N/A | N/A
0
0
0
0
0
0
0
|  |  |  | 0 |  | 0

## 4- Exterior Lighting
Click to go back to the Project Summary tab | Exterior Lighting
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Include all exterior fixtures for proposed design, even those not listed as high performance (LED) or existing to remain. All fixtures must be LED to qualify. The minimum incentive is earned at 10% below code lighting power. LED fixtures or lamps are required to be UL listed and are highly recommended to be Design Lights Consortium (DLC) or Energy Star’s Qualified Products. The incentive is calculated based on energy savings: $.40/kWh annual savings or $1,000/summer peak kW and capped based on the table below.
Incentives - LEDs ONLY
| Fixture Type | Maximum Incentive per Fixture
| Pole Lights per Head | 125
| Wall packs and wall mounted | 50 |  |  | YOU MUST ALSO FILLED OUT THE EXTERIOR LIGHTS POWER ALLOWANCE TO THE RIGHT WHEN FILLING OUT THIS TAB!
| Bollards | 30
| Canopy Lights | 50
| Other Eligible LED fixtures | 30
| Ineligible fixtures, ex. fluorescent, induction | 0
| High Efficiency Exterior Design Proposed | [8 empty] | Exterior Lighting Power Allowance
| Fixtures by Area Type (use drop down list) | Fixture Code (Optional) | Total Quantity of New Fixtures | Quantity of Existing Fixtures Remaining | Fixture Description Manufacturer and Model number *INCLUDE A SPEC SHEET FOR EACH FIXTURE WHEN YOU SUBMIT THIS FORM* | Fixture Type | LED (yes/no) | Fixture Wattage | Total Wattage For This Fixture | Area Type Where Lights Are Being Installed | Fixture Code(s) | Area | Units | Time the Lights Turn On | Time the Lights Turn Off
| Building Grounds -Walkways Less Than 10' Wide | A | 4 | 1 | EXAMPLE: Manufacturer model XYZ | LED wall washers/ wall mounted fixtures | Yes | 50 | 250 | Building Grounds -Walkways Less Than 10' Wide | A | 100 | Lineal Feet | Dusk | 1 AM
| Parking Areas and Drives - Uncovered | B | 5 | 0 | EXAMPLE: Manufacturer model XYZ | LED heads on poles | Yes | 60 | 300 | Parking Areas and Drives - Uncovered | B | 200 | Sqft of Lit Area | Dusk | Dawn
[9 empty] | 0 |  |  |  | #N/A
[9 empty] | 0 |  |  |  | #N/A |  |  | LED heads on poles
[9 empty] | 0 |  |  |  | #N/A |  |  | LED wall washers/ wall mounted fixtures
[9 empty] | 0 |  |  |  | #N/A |  |  | LED bollards
[9 empty] | 0 |  |  |  | #N/A |  |  | LED canopy lights
[9 empty] | 0 |  |  |  | #N/A |  |  | Induction lights
[9 empty] | 0 |  |  |  | #N/A |  |  | Other eligible LED fixture
[9 empty] | 0 |  |  |  | #N/A |  |  | Ineligible fixture
[9 empty] | 0 |  |  |  | #N/A
[9 empty] | 0 |  |  |  | #N/A
[9 empty] | 0 |  |  |  | #N/A
[9 empty] | 0 |  |  |  | #N/A
[9 empty] | 0 |  |  |  | #N/A
[9 empty] | 0 |  |  |  | #N/A
[9 empty] | 0 |  |  |  | #N/A
[9 empty] | 0 |  |  |  | #N/A
[9 empty] | 0 |  |  |  | #N/A
[9 empty] | 0 |  |  |  | #N/A
[9 empty] | 0 |  |  |  | #N/A
| Totals |  | 0 | 0 |  |  |  | 0
Provide any additional information relevant to this project.

## 5- Unitary & Split DX
Click to go back to project summary tab | Unitary & Split DX HVAC
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Incentives
|  |  | Standard Efficiency Tier 1 |  | Standard Efficiency Tier 2 |  | IECC Additional Efficiency Option Tier 1 |  | IECC Additional Efficiency Option Tier 2
Size |  |  | Minimum Qualifying Ratings (based on AHRI)* | Incentive $/Ton | Minimum Qualifying Ratings (based on AHRI)* | Incentive $/Ton | Minimum Qualifying Ratings (based on AHRI)* | Incentive $/Ton | Minimum Qualifying Ratings (based on AHRI)* | Incentive $/Ton
Nominal Tons | MBTU/Hr
< 5.4 | < 65 |  | 15 SEER, 12.5 EER | 50 | 16 SEER, 13 EER | 150 | 16 | 50 | 17 | 150
≥ 5.4 to < 11.25 | ≥ 65 to < 135 |  | 12 EER, 13.8 IEER | 50 | 12 EER, 14.6 IEER | 150 | 12.4 | 50 | 13 | 150
≥ 11.25 to < 20 | ≥ 135 to < 240 |  | 12 EER, 13 IEER | 50 | 12 EER, 14.0 IEER | 150 | 12.4 | 50 | 13 | 150
≥ 20 to ≤ 30 | ≥ 240 to ≤ 375 |  | 10.3 EER, 12 IEER | 50 | 10.3 EER, 13 IEER | 150 | 12 | 50 | 12.5 | 150 |  | Unitary
> 30 to < 63 | > 375 to < 760 |  | 10.3 EER, 12 IEER | 50 | 10.3 EER, 13 IEER | 150 | 11.2 | 50 | n/a | n/a |  | Split
≥ 63.33 | ≥ 760 |  | 9.7 EER, 11.4 IEER | 50 | 10.2 EER, 12.1 IEER | 150 | 11 | 50 | n/a | n/a
INCLUDE THE AHRI RATING FORM FOR EACH UNIT WHEN YOU SUBMIT THIS FORM
*Full system rating is required on split HVAC equipment. No incentives are available for the condensing unit alone
Unitary & Split DX HVAC Proposed
Unit ID | Unitary or Split | Quantity | Manufacturer | Full Model number | AHRI Cooling Capacity (MBTU/Hr) | SEER or EER Rating at AHRI conditions | AHRI Certified Reference Number |  |  |  | Attached with Data Collection Submission
EXAMPLE: RTU-1 | Unitary | 1 | XYZ COMPANY | MODEL XYZ123456 | 67 | 12 | 1234567 |  |  |  | Pasted Below
Provide any additional information relevant to this project.

## 6- Air Source Heat Pumps
Click to go back to the summary tab | Air Source Heat Pumps (non VRF/VRV)
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN (4) AHRI rating sheet (example on right) is required for each proposed unit, and must be submitted with this form
*** An AHRI rating sheet is required for each proposed unit, and must be submitted with this form
Incentives
|  |  |  | Standard Efficiency Tier 1 |  |  | Standard Efficiency Tier 2 |  |  | IECC Additional Efficiency Option
| Size |  | Type | Minimum Qualifying Ratings (based on AHRI) |  | Incentive | Minimum Qualifying Ratings (based on AHRI) |  | Incentive | Minimum Qualifying Ratings (based on AHRI) |  | Incentive | AHRI rating certification: | www.ahridirectory.org
| Nominal Tons | MBTU/Hr |  | EER/IEER | COP/HSPF | $/Ton | EER/IEER | COP/HSPF | $/Ton | SEER/EER | COP/HSPF | $/Ton
| < 5.4 | < 65 | Ductless Single-Zone | 18 | 10 | 250 | 22 | 10 | 500 | 18 | 10 | 250
|  |  | Ductless or Ducted Multi-Zone | 16 | 9.5 | 250 | 20 | 10 | 500 | 16 | 9.5 | 250
|  |  | Centrally-Ducted | 16 | 9.5 | 250 | 20 | 10 | 500 | 16 | 9.5 | 250
| ≥ 5.4 to < 11.25 | ≥ 65 to < 135 | All | 11.8/13.6 | 3.4 | 250 | 11.8/18.0 | 3.4 | 500 | 13 | 3.4 | 250
| ≥ 11.25 to < 20 | ≥135 to <240 | All | 10.9/12.8 | 3.3 | 250 | 10.9/17.0 | 3.3 | 500 | 12.8 | 3.2 | 250
| ≥ 20 to ≤ 30 | ≥ 240 to ≤ 375 | All | 10.3/11.8 | 3.3 | 250 | 10.3/12.0 | 3.3 | 500 | 12.8 | 3.2 | 250
*INCLUDE THE AHRI RATING FORM FOR EACH UNIT WHEN YOU SUBMIT THIS FORM*
Air Source Heat Pumps (non VRV/ VRF) Units Proposed
| Unit ID | Indoor Unit Type | Quantity | Manufacturer / Full Model number |  | AHRI Cooling Capacity (Btu/hr) | AHRI Heating Capacity at 47°F (Btu/hr) | AHRI Heating Capacity at 17°F (Btu/hr) | Equipment Type if Cooling Capacity <65,000 Btu/hr | Installed EER (Use SEER under 65,000 btu/h) | Installed COP (Use HSPF under 65,000 btu/h) |  |  |  | Ducted | Attached with Data Collection Submission
| EXAMPLE: ASHP-1 | Ducted | 1 | XYZ COMPANY / MODEL XYZ123 |  | 67 | 12 | 70 | Ductless Single Zone | 1234567 | 1234567 |  |  |  | Non-Ducted | Pasted Below
Mixed
Notes: See Energy Recovery tab for DOAS systems with energy recovery not required by code.
Provide any additional information relevant to this project.
Note on G18: Guidance: Use the value listed on the AHRI Certificate next to "Cooling Capacity (Btuh)"
Note on H18: Guidance: Use the value listed on the AHRI Certificate next to "Heating Capacity (Btuh) @ 47 F"

## 7- Water Source Heat Pumps
Click to go back to the Project Summary Tab | Water Source Heat Pumps
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN (4) AHRI rating sheet (example on right) is required for each proposed unit, and must be submitted with this form
*** An AHRI rating sheet is required for each proposed unit, and must be submitted with this form
Incentives
Water Source Heat Pump Equipment
[5 empty] | Standard Efficiency |  |  | IECC Additional Efficiency Option - must exceed Tier 1 by 10% |  |  | AHRI rating certification: | www.ahridirectory.org
| Type |  | Nominal Tons | MBTU/Hr | Minimum Qualifying EER (based on AHRI) | Minimum Qualifying COP (based on AHRI) | Incentive $/Ton | Minimum Qualifying EER (based on AHRI) | Minimum Qualifying COP (based on AHRI) | Incentive $/Ton
| Water-to-Air: Boiler/Cooling Tower |  | < 11.25 | < 135 | - | - | 750 | 15 | 4.86 | 750
| Water-to-Air: Ground Water (Open Loop) |  | < 11.25 | < 135 | - | - | 750 | 20.2 | 4.48 | 750
| Water-to-Air: Ground Loop (Closed Loop) |  | < 11.25 | < 135 | 17.1 | 3.6 | 750 | 16 | 3.6 | 750
| Water-to-Water: Boiler/Cooling Tower |  | < 11.25 | < 135 | - | - | 750 | 15 | 4.86 | 750
| Water-to-Water: Ground Water (Open Loop) |  | < 11.25 | < 135 | - | - | 750 | 20.2 | 4.48 | 750
| Water-to-Water: Ground Loop (Closed Loop) |  | < 11.25 | < 135 | 16.1 | 3.1 | 750 | 16 | 3.6 | 750
*INCLUDE THE AHRI RATING FORM FOR EACH UNIT WHEN YOU SUBMIT THIS FORM*
High Efficiency Water Source Heat Pumps Units Proposed
| Unit ID | Quantity | Category or Type | Equipment Description Make/Model Number |  | Btu/h Cooling Capacity | Btu/h Heating Capacity | Installed EER | Installed COP | AHRI Certified Reference Number
| EXAMPLE: WSHP-1 | 2 | Ground Water - Closed Loop | XYZ COMPANY |  | 55 | 16 | 50 | 3.5 | 1234567
Provide any additional information relevant to this project.
Note on G18: Guidance: Use the value listed on the AHRI Certificate next to "Cooling Capacity (Btuh)"
Note on H18: Guidance: Use the value listed on the AHRI Certificate next to "Heating Capacity (Btuh)"

## 8- VRF-VRV
Click to go back to the Project Summary Tab | VRF
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN (4) AHRI rating sheet (example on right) is required for each proposed unit, and must be submitted with this form
Incentives
| Size (BTUs) |  | Nominal Tons | MBTU/Hr | Minimum Qualifying EER | Minimum Qualifying COP | Incentive $/Ton |  |  |  |  | *** An AHRI rating sheet is required for each proposed unit, and must be submitted with this form
| ≥65,000 to ≤135,000 |  | < 11.25 | < 135 | 11.3 EER; 14.2 IEER | 3.3 COP @ 47F | 250
| >135,000 to ≤240,000 |  | > 11.25 | < 240 | 10.9 EER; 13.7 IEER | 3.3 COP @ 47F | 250
[12 empty] | AHRI rating certification: | www.ahridirectory.org
Notes: This incentive is available for equipment greater than 65,000 BTUh. If your unit is under 65,000 BTUh use the Air Source Heat Pumps tab. See Energy Recovery tab for DOAS systems with energy recovery not required by code.
*INCLUDE THE AHRI RATING FORM FOR EACH UNIT WHEN YOU SUBMIT THIS FORM*
High Efficiency VRF Units Proposed
| Unit ID | Manufacturer/Outdoor Unit Model # | Indoor Unit Type | VRF Classification | Cooling Capacity (Btu/hr) | Heating Capacity (Btu/hr) | Cooling EER | Cooling IEER | Heating COP at 47°F | Heating COP at 17°F | AHRI Certified Reference Number
| EXAMPLE: VRF-1 | 1 | Ducted | Cooling Only | 65000 | 65000 | 12 | 17.4 | 10.5 | 10.5 | 1234567
Provide any additional information relevant to this project.

## 9- VFDs
Click to go back to the Project Summary tab | VFDs
Note: New Construction/Major Renovation VFDs only (use Existing Building VFD submission for Retrofit applications)
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Incentives
Eligibility Requirements
Air Handling Fans (only for DX Cooling with a mechanical cooling capacity <65,000 Btu/h**) |  |  | Chilled Water & Hot Water Pumps (only for systems with a capacity less than 500 MBH) |  | Cooling Tower Fans
Motor Size (HP) | Incentive*, ** |  | Motor Size (HP) | Incentive*, ** | Motor Size (HP) | Incentive*,**
< 1 | 0 |  | < 1 | 0 | <1 | 0
≥ 1 to < 2 | up to $100 |  | ≥ 1 to < 2 | up to $200 | ≥ 1 to < 2 | up to $100
≥ 2 to < 5 | up to $200 |  | ≥ 2 to < 5 | up to $350 | ≥ 2 to < 5 | up to $200
≥ 5 to < 7.5 | up to $920 |  | ≥ 5 to < 7.5 | up to $1,710 | ≥ 5 to < 7.5 | up to $920
|  |  | ≥ 7.5 to < 10 | up to $2,100 | [6 empty] | DX Cooling
|  |  | ≥ 10 to < 15 | up to $2,150 | [6 empty] | Chilled water and evaporative cooling
Notes:
*VFD Incentives listed above represent maximum incentives - actual incentives need to be qualified with energy savings.
**For new construction or major renovation projects, air handling fans on DX cooling systems ≥ 65,000 BTU/h, hot or chilled water pump systems ≥ 500 MBH, and cooling tower fans ≥ 7.5 HP shall have Variable Frequency Drives per IECC 2015 and therefore, are not eligible for incentives.
Air Handling Fans & Cooling Tower Fans |  |  |  |  | Chilled Water Pumps & Hot Water Pumps
Fan ID | Quantity | Motor HP | Cooling System Type | Rated Cooling Capacity (BTUH)** | Pump ID | Hot Water Pump or Chilled Water Pump? | Rated Cooling/Heating System Capacity (MBH) | Total Quantity | Back Up Quantity | Motor HP
EXAMPLE: AHU-1 SF | 2 | 5 | DX Cooling | 50000 | EXAMPLE: HWP-1 | Hot Water | 150 | 2 | 1 | 7.5
EXAMPLE: AHU-1 EF | 2 | 2.5 | DX Cooling | 40000 | EXAMPLE: CWP-1 | Chilled Water | 150 | 2 | 1 | 7.5
Provide any additional information relevant to this project.

## 10- Chillers
Click to go back to the Project Summary tab | Chillers
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
PROVIDE SUBMITTALS WITH THE FULL LOAD EER/KW PER TON, IPLV AND PART LOAD RATINGS FOR 25%, 50%, 75%, AND 100% LOAD AT AHRI IPLV CONDITIONS (NOT DESIGN CONDITIONS)
Incentives
Lesser of: Electric Incentive: greater of $0.40/kWh OR $1,000.00/summer peak kW 95% of Incremental Cost for New Construction/ Major Renovation, 75% of Incremental Cost for New Equipment or Replacement Equipment
Months included (input 0 if month not included in analysis and 1 if it is)
| January | February | March | April | May | June
Months
| July | August | September | October | November | December
Occupied Hours | Weekday | Weekend
Midnight to 8am |  |  | Input occupied hours for time periods shown.
8am to 4pm |  |  | Input occupied hours for time periods shown.
4pm to Midnight |  |  | Input occupied hours for time periods shown.
Cooling Load Information
|  | Occupied Hours |  | Unoccupied Hours
Cooling tons at 100° OAT
Economizer set point
Cooling tons at economizer set point
Cooling tons below cooling set point
Cooling tons at 0° OAT
Chiller Plant Information (ARI 550/590 - 98)
|  | Chiller 1 | Chiller 2 | Chiller 3 | Chiller 4
Manufacturer & Model #
Design criteria (path A or B)
ARI rated capacity (tons)
Air or water cooled
Electric or gas driven
Refrigerant type
Compressor type
Secondary water pump BHp
ARI chiller efficiency at 100% load
ARI chiller efficiency at 75% load
ARI chiller efficiency at 50% load
ARI chiller efficiency at 25% load
Auxiliaries Information
|  | Chiller 1 | Chiller 2 | Chiller 3 | Chiller 4
Secondary CHWP - single speed or VFD
Primary chilled water pump BHp
Condensor water pump BHp
Tower fan BHp
Tower fan - 1 speed / 2 speed / VFD
Other (kW)
Provide any additional information relevant to this project.
Note on A20: OAT (outside air temperature). Input the maximum comfort load in tons that the chiller must meet during occupied/unoccupied hours.
Note on C20: OAT (outside air temperature). Input the maximum comfort load in tons that the chiller must meet during occupied/unoccupied hours.
Note on A21: The temperature at which the outside air is sufficiently cold. For most airside economizer installations, the number is 54 degrees. For most waterside economizer installations, the number is 40 degrees.
Note on C21: The temperature at which the outside air is sufficiently cold. For most airside economizer installations, the number is 54 degrees. For most waterside economizer installations, the number is 40 degrees.
Note on A22: Input the comfort load in tons that the chiller must meet during occupied/unoccupied hours, when outside air temperature is cold enough to do much of the cooling by introducing outside air cooling.
Note on C22: Input the comfort load in tons that the chiller must meet during occupied/ unoccupied hours, when outside air temperature is cold enough to do much of the cooling by introducing outside air cooling.
Note on A23: Recognizes chiller loads below the economizer outside air temperature.
Note on C23: Recognizes chiller loads below the economizer outside air temperature.
Note on A24: The comfort load during occupied hours when the outside air temperature is at zero degrees. Usually 0 since cooling is not needed.
Note on C24: The comfort load during occupied hours when the outside air temperature is at zero degrees. Usually 0 since cooling is not needed.
Note on A34: BHp: Brake Horsepower
Note on C34: BHp = Brake horsepower
Note on A41: CHWP: Chilled Water Pump VFD: Variable Frequency Drive
Note on C41: CHWP = Chilled Water Pump VFD = Variable Frequency Drive

## 11- Energy Recovery
Click to go back to the Project Summary tab | Heat Recovery/Energy Recovery Ventilation Units
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Notes: Energy Recovery is a Custom Measure available where not required by code. This is based on percent outdoor air, operating hours, and heating/cooling in the space.
Incentives
Lesser of: Electric Incentive: greater of $0.40/kWh OR $1,000.00/summer peak kW Natural Gas Incentive: $6.00/CCF 95% of Incremental Cost for New Construction/ Major Renovation, 75% of Incremental Cost for New Equipment or Replacement Equipmen
Months included (input 0 if month not included in analysis and 1 if it is)
| January | February | March | April | May | June
Months
| July | August | September | October | November | December
Occupied Hours | Weekday | Weekend
Midnight to 8am |  |  | Input occupied hours for time periods shown.
8am to 4pm |  |  | Input occupied hours for time periods shown.
4pm to Midnight |  |  | Input occupied hours for time periods shown.
Design Supply Fan Airflow Rate of Fan System (CFM) Include Submittal with Project Submission
Percent Outdoor Air at Full Design Airflow Rate (%)
Incremental cost to add heat recovery to project including design, installation and commissioning:
System #1
| Unit Designation (AHU #) |  |  | Fans
| Manufacturer & Model Number |  |  |  | Exhaust Air CFM
Cooling EER
| Heating Fuel |  |  |  | Heat recovery required by IECC 2015 Energy Code?
Heating Efficiency (Default = 80%)
Heat Recovery Unit |  |  |  |  | System Type
| Percent Heating Effectiveness |  |  |  | Fan Control
| Percent Cooling Effectiveness |  |  |  | Supply Fan HP
| Heat Recovery By-pass |  |  |  | Return Fan HP
AHRI Certification Number
System #2
| Unit Designation (AHU #) |  |  | Fans
| Manufacturer & Model Number |  |  |  | Exhaust Air CFM
Cooling EER
| Heating Fuel |  |  |  | Heat recovery required by IECC 2015 Energy Code?
Heating Efficiency (Default = 80%)
Heat Recovery Unit |  |  |  |  | System Type
| Percent Heating Effectiveness |  |  |  | Fan Control
| Percent Cooling Effectiveness |  |  |  | Supply Fan HP
| Heat Recovery By-pass |  |  |  | Return Fan HP
AHRI Certification Number
System #3
| Unit Designation (AHU #) |  |  | Fans
| Manufacturer & Model Number |  |  |  | Exhaust Air CFM
Cooling EER
| Heating Fuel |  |  |  | Heat recovery required by IECC 2015 Energy Code?
Heating Efficiency (Default = 80%)
Heat Recovery Unit |  |  |  |  | System Type
| Percent Heating Effectiveness |  |  |  | Fan Control
| Percent Cooling Effectiveness |  |  |  | Supply Fan HP
| Heat Recovery By-pass |  |  |  | Return Fan HP
AHRI Certification Number
System #4
| Unit Designation (AHU #) |  |  | Fans
| Manufacturer & Model Number |  |  |  | Exhaust Air CFM
Cooling EER
| Heating Fuel |  |  |  | Heat recovery required by IECC 2015 Energy Code?
Heating Efficiency (Default = 80%)
Heat Recovery Unit |  |  |  |  | System Type
| Percent Heating Effectiveness |  |  |  | Fan Control
| Percent Cooling Effectiveness |  |  |  | Supply Fan HP
| Heat Recovery By-pass |  |  |  | Return Fan HP
AHRI Certification Number
System #5
| Unit Designation (AHU #) |  |  | Fans
| Manufacturer & Model Number |  |  |  | Exhaust Air CFM
Cooling EER
| Heating Fuel |  |  |  | Heat recovery required by IECC 2015 Energy Code?
Heating Efficiency (Default = 80%)
Heat Recovery Unit |  |  |  |  | System Type
| Percent Heating Effectiveness |  |  |  | Fan Control
| Percent Cooling Effectiveness |  |  |  | Supply Fan HP
| Heat Recovery By-pass |  |  |  | Return Fan HP
AHRI Certification Number
Provide any additional information relevant to this project.
Note on A19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is for the full design, not individual AHU
Note on A20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is for the full design, not individual AHU

## 12- DCV (CO2 Control)
Click to go back to the Project Summary Tab | Demand Control Ventilation of Outside Air with CO2 sensors
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Notes: Demand Control Ventilation is a Custom Measure available where not required by code. In general energy code requires CO2 control for spaces larger than 500 square feet and with an average occupant load of 25 people per 1,000 square feet (per the International Mechanical Code) and served by systems with: an air-side economizer, automatic modulating control of the outdoor air damper, and/or outdoor airflow is greater than 3,000 CFM. Do not include any CO2 controls below that are required by energy code. Fill out the yellow boxes for energy savings evaluation.
Incentives
Lesser of: -Electric Incentive: greater of $0.40/kWh OR $1,000.00/summer peak kW & Natural Gas Incentive: $6.00/CCF -$750/sensor -95% of Incremental Cost for New Construction/ Major Renovation, 75% of Incremental Cost for New Equipment or Replacement Equipment *Oil and Propane Incentives Not available..
Months included (input 0 if month not included in analysis and 1 if it is)
|  | January | February | March | April | May | June
Months
|  | July | August | September | October | November | December
| Occupied Hours | Weekday | Weekend
| Midnight to 8am |  |  | Input occupied hours for time periods shown.
| 8am to 4pm |  |  | Input occupied hours for time periods shown.
| 4pm to Midnight |  |  | Input occupied hours for time periods shown.
Incremental cost to add CO2 sensors to project including design, installation and commissioning:
Are the CO2 sensors part of the EMS?
System #1
|  | Unit Designation (AHU #) |  |  |  | Space Type Served by AHU
|  | Cooling EER |  |  |  | Sensor location
|  | Heating Fuel |  |  |  | Total CFM
|  | Heating Efficiency (Default = 80%) |  |  |  | Percent Outdoor Air
Average Percent Reduction
Quantity of CO2 Sensors
System #2
|  | Unit Designation (AHU #) |  |  |  | Space Type Served by AHU
|  | Cooling EER |  |  |  | Sensor location
|  | Heating Fuel |  |  |  | Total CFM
|  | Heating Efficiency (Default = 80%) |  |  |  | Percent Outdoor Air
Average Percent Reduction
Quantity of CO2 Sensors
System #3
|  | Unit Designation (AHU #) |  |  |  | Space Type Served by AHU
|  | Cooling EER |  |  |  | Sensor location
|  | Heating Fuel |  |  |  | Total CFM
|  | Heating Efficiency (Default = 80%) |  |  |  | Percent Outdoor Air
Average Percent Reduction
Quantity of CO2 Sensors
System #4
|  | Unit Designation (AHU #) |  |  |  | Space Type Served by AHU
|  | Cooling EER |  |  |  | Sensor location
|  | Heating Fuel |  |  |  | Total CFM
|  | Heating Efficiency (Default = 80%) |  |  |  | Percent Outdoor Air
Average Percent Reduction
Quantity of CO2 Sensors
System #5
|  | Unit Designation (AHU #) |  |  |  | Space Type Served by AHU
|  | Cooling EER |  |  |  | Sensor location
|  | Heating Fuel |  |  |  | Total CFM
|  | Heating Efficiency (Default = 80%) |  |  |  | Percent Outdoor Air
Average Percent Reduction
Quantity of CO2 Sensors
Provide any additional information relevant to this project.
Note on G23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Example: office space, main entry lobby, library, etc.
Note on G30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Example: office space, main entry lobby, library, etc.
Note on G37: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Example: office space, main entry lobby, library, etc.
Note on G44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Example: office space, main entry lobby, library, etc.
Note on G51: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Example: office space, main entry lobby, library, etc.

## 13- Natural Gas Heating
Click to go back to the Project Summary tab | Natural Gas Heating Equipment
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Incentives
Eligibility Requirements
| Equipment Type | Size (Input MBH¹) |  | Minimum Efficiency |  | Incentive Amount
| Condensing Gas Boilers* | Hot Water <300 |  | ≥ 95% AFUE² |  | $5/Input MBH
|  | Hot Water ≥ 300 & ≤ 2500 MBH |  | ≥ 95% Thermal Efficiency
| Gas Boilers* | Hot Water Cast Iron Sectional |  | ≥ 85% Thermal Efficiency |  | $3/Input MBH
|  | Steam < 300 MBH |  | ≥ 84% AFUE²
|  | Steam ≥300 to <2,500 |  | ≥ 84% Thermal Efficiency
| Condensing Gas Furnaces* | <2,500 |  | ≥ 95% AFUE²/Combustion Efficiency |  | $6/Input MBH
| Condensing Gas Unit Heaters | <2,500 |  | ≥ 90% Thermal Efficiency |  | $12/Input MBH
| Gas Fired Absorption Heat Pumps (Eversource Only) | n/a |  | ≥ 100% Heating Efficiency |  | $500/Ton
| Natural Gas Infrared Radiant Heaters (low intensity)* | <50 |  | n/a |  | $500/Unit
|  | ≥50 to <150 |  | n/a |  | $550/Unit
|  | ≥150 to <175 |  | n/a |  | $650/Unit
|  | ≥175 |  | n/a |  | $850/Unit
Notes: -Incentives are available customers on a firm gas (non interruptible) account. -If these measures are required to utilize the additional efficiency package options through IECC 2015 then the custom measure incentive structure will be used -Propane and oil boilers are not eligible for incentives ¹MBH – Thousands of BTUs per hour ²AFUE – Annual Fuel Utilization Efficiency ³BTUh – British Thermal Units per hour
*INCLUDE THE AHRI RATING FORM FOR EACH UNIT WHEN YOU SUBMIT THIS FORM*
| Equipment Type | Unit ID | Quantity | How Many Units Are Back Up? | Manufacturer | Model Number | Boiler / Furance Type & Size | Number of Equipment to be Installed | Equipment Capacity (Input MBH) | Rated Equipemnt Efficiency (Decimal) | Proposed Fuel Type |  | Attached with Data Collection Submission
| Non-Condensing Gas Boiler | EXAMPLE: B-1 | 2 | 1 | XYZ COMPANY | MODEL XYZ123 | Hot Water ≥ 300 & ≤ 2500 MBH | 1 | 350 |  | Natural Gas | Condensing Gas Boiler | Pasted Below
Non-Condensing Gas Boiler
Condensing Gas Furnace
Condensing Gas Unit Heater
Gas Fired Absorption Heat Pumps
Natural Gas Infrared Radiant Heaters
Provide any additional information relevant to this project.
Category | Condensing Gas Furnace | Condensing Gas Boiler | Non-Condensing Gas Boiler | Condensing Gas Unit Heater | Gas Fired Absorption Heat Pumps | Natural Gas Infrared Radiant Heaters | emptylist
Condensing Gas Boiler | Unknown exisiting venting | Hot Water ≥ 300 & ≤ 2500 MBH | Hot Water ≥ 300 & ≤ 2500 MBH
Non-Condensing Gas Boiler | Existing condensing stack | Hot Water Cast Iron Sectional | Hot Water Cast Iron Sectional
Condensing Gas Furnace | Existing non-condensing stack | Steam < 300 MBH | Steam < 300 MBH
Condensing Gas Unit Heater |  | Steam ≥ 300 MBH | Steam ≥ 300 MBH
Gas Fired Absorption Heat Pumps |  | Steam, natural draft, ≥ 300 MBH | Steam, natural draft, ≥ 300 MBH
Natural Gas Infrared Radiant Heaters
Hot Water ≥ 300 & ≤ 2500 MBH
Hot Water Cast Iron Sectional
Steam < 300 MBH
Steam ≥ 300 MBH
Steam, natural draft, ≥ 300 MBH

## 14- Electric & Gas Hot Water
Click to go back to the Project Summary tab | Electric & Natural Gas Domestic Hot Water Heaters
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Natural Gas Hot Water Heater Incentives |  |  |  |  | Heat Pump Hot Water Heater Incentives
Eligibility Requirements |  |  |  |  | Eligibility Requirements
Equipment Type | Size (Input MBH)¹ | Minimum Efficiency | Incentive Amount ($/Input MBH)¹ |  | Rated Storage Volume | Minimum Efficiency | Incentive per Unit | Qualification
Storage-Type Domestic Water Heater | n/a | ≥ 94% Thermal Efficiency | 8 |  | ≥20 gallons to <119 gallons | - | 750 | CURRENT ENERGY STAR®
On-Demand Domestic Water Heater | < 200 | ≥ 0.87 Uniform Energy Factor | 5 |  | ≥119 gallons | - | 1400 | CURRENT ENERGY STAR®
| ≥ 200 | ≥ 94% Thermal Efficiency
Large Domestic Hot Water Boiler | > 75 | ≥ 85% Thermal Efficiency | 5
Notes: Incentives are available customers on a firm gas (non interruptible) account. ¹MBH – Thousands of BTUs per hour
*INCLUDE THE AHRI OR ENERGY STAR RATING FORM FOR EACH UNIT WHEN YOU SUBMIT THIS FORM*
Natural Gas Hot Water Heater
Equipment Type | Unit ID | Quantity | Manufacturer | Model number | Gas Input Capacity (MBH) | Storage Capacity (Gallons) | AHRI Thermal Efficiency (%) | Rated Standby Loss (Btu/hr) | AHRI Certified Reference Number | Storage-Type Domestic WH | Attached with Data Collection Submission
On-Demand Domestic WH | EXAMPLE: WH-1 | 1 | XYZ COMPANY | MODEL XYZ123 | 100 | 80 | 96 | 20000 | 1234567 | On-Demand Domestic WH | Pasted Below
Large Domestic HW Boiler
Heat Pump Hot Water Heater
Equipment Type | Unit ID | Quantity | Manufacturer | Model number | Input kW | Storage Capacity (Gallons) | Rated COPh | Square Footage of Building Area Served by this Hot Water Heater
Heat Pump Hot Water Heater | EXAMPLE: WH-1 | 1 | XYZ COMPANY | MODEL XYZ123 | 5 | 80 | 3.5 | 30000
Provide any additional information relevant to this project.

## 15- Kitchen Appliances (hidden)
Click to go back to the Project Summary tab | Commerical Kitchen Equipment - ENERGY STAR®
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Incentives
Eligibility Requirements
Equipment Type | Type, Size, Capacity | Incentives $/ Unit
Refrigerator, Solid Door, Self Contained | 30-49.9 cubic feet | 175
| 50 cubic feet or larger | 300
Freezer, Glass Door, Self Contained | 30-49.9 cubic feet | 1150
| 50 cubic feet or larger | 1975
Freezer, Solid Door, Self Contained | Less than 15 cubic feet | 125
| 15-29.9 cubic feet | 200
| 30-49.9 cubic feet | 200
| 50 cubic feet or larger | 500
Ice Machines (Ice Making Head units only) | Harvest Rate | -
| 101-200 lbs/day | 50
| 201-300 lbs/day | 50
| 301-400 lbs/day | 75
| 401-500 lbs/day | 75
| 501-1000 lbs/day | 75
| 1001-1500 lbs/day | 100
| Greater than 1500 lbs/day | 100
Low Temp Electric or Natural Gas Dishwasher Note: Building must have Electric or Gas Hot Water | Under Counter | 300 |  |  | Refrigerator, Solid Door
| Door Type | 1200 |  |  | Freezer, Glass Door
| Single Tank Conveyor | 125 |  |  | Freezer, Solid Door
High Temp Electric or Natural Gas Dishwasher Note: Building must have Electric or Gas Hot Water or unit must have Electric or Gas Hot Water Booster | Under Counter | 750 |  |  | Ice Machines
| Door Type | 375 |  |  | Electric Low Temp Dishwasher
| Single Tank Conveyor | 200 |  |  | Natural Gas Low Temp Dishwasher
Note: Incentives for natural gas appliances are available to customers on a firm gas (non interruptible) account. |  |  |  |  | Electric High Temp Dishwasher
Natural Gas Low Temp Dishwasher
*INCLUDE THE ENERGY STAR RATING FORM FOR EACH UNIT WHEN YOU SUBMIT THIS FORM*
Commercial Kitchen Units Proposed
Unit ID | Equipment Type | Manufacturer and Model Number | Type, Size or Capacity | Number of Units
Example 1: Refrigerator 1 | Freezer, Glass Door | Turbo Air Pro 50R | 50 cubic feet | 1
Provide any additional information relevant to this project.

## 16- Cooking Equipment (hidden)
Click to go back to the Project Summary tab | Commercial Kitchen Equipment - ENERGY STAR®
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Incentives
Eligibility Requirements
Equipment Type | Type, Size, Capacity | Incentives $/ Unit
Electric Hot Food Holding Cabinets | Product Interior Volume (Cubic Feet) | -
| 0 < V < 13 | 650
| 13 ≤ V < 28 | 975
| 28 ≤ V | 900
Electric Convection Oven |  | 350
Natural Gas Convection Oven |  | 500
Electric Fryer |  | 200
Natural Gas Fryer |  | 750 |  |  |  | Electric Hot Food Holding Cabinet
Electric Griddle |  | 400 |  |  |  | Electric Convection Oven
Natural Gas Griddle |  | 450 |  |  |  | Natural Gas Convection Oven
Electric Steam Cooker |  | 1125 |  |  |  | Electric Fryer
Natural Gas Steamer |  | 750 |  |  |  | Natural Gas Fryer
Note: Incentives for natural gas appliances are available to customers on a firm gas (non interruptible) account. | [5 empty] | Electric Griddle
Natural Gas Griddle
*INCLUDE THE ENERGY STAR RATING FORM FOR EACH UNIT WHEN YOU SUBMIT THIS FORM* | [5 empty] | Electric Steam Cooker
Natural Gas Steamer
Commercial Kitchen Units Proposed
Unit ID | Equipment Type | Manufacturer | Model Number | Type, Size or Capacity | Number of Units
Example 1: Hot Food Holding Cabinet 1 | Hot Food Holding Cabinet | Cambro | CMBH1826T | 18 cubic feet | 1
Electric Hot Food Holding Cabinet
Provide any additional information relevant to this project.

## 15 - Kitchen Equipment
Click to go back to the Project Summary tab | Measure Name: Commercial Kitchen Equipment
Installation of ENERGY STAR qualified commercial kitchen equipment
PSD 2.6.2 2022
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Choose a dropdown from this column, then procede to the next two columns.
| Manufacturer | Model | Electric or Gas | Equipment type | Measure Description/Equipment Type | Quantity | [10 empty] | Gas_Equipment
| Acme | Model A | Electric_Equipment | Freezer | Freezer, glass door, self-contained (< 15 cubic ft) | 2 | [10 empty] | Electric_Equipment
Building Type
Restaurant
Restaurant
Restaurant
Restaurant
Restaurant
Restaurant
Restaurant
Restaurant
Restaurant
Restaurant
Restaurant
Restaurant
Restaurant
Restaurant
Restaurant
Provide any additional information relevant to this project.
| Level 2 | Level 2 | Level 3 | Level 3 | Level 3 | Level 3
| Electric_Equipment | Gas_Equipment | Broiler | Electric Dishwasher | Freezer | Electric Fryer
| Broiler | Gas_Dishwasher | Energy-efficient commercial underfired broiler | Electric dishwasher high temp – door type | Freezer, glass door, self-contained (< 15 cubic ft) | Electric fryer - standard vat
Level 1 | Electric_Dishwasher | Gas_Fryer | Energy-efficient commercial conveyor broilers, < 20" wide | Electric dishwasher high temp – multi-tank conveyor | Freezer, glass door, self-contained (15-29.9 cubic ft) | Electric fryer - large vat | Level 3 | Level 3 | Level 3 | Level 3 | Level 3 | Level 3 | Level 3 | Level 3 | Level 3 | Level 3
Fuel_Type | Freezer | Gas_Other | Energy-efficient commercial conveyor broilers, 20-26" wide | Electric dishwasher high temp – pot, pan, utensil | Freezer, glass door, self-contained (30-49.9 cubic ft) |  | Griddle | Hot Folding Cabinet | Ice Machine | Electric Other | Electric Oven | Refrigerator | Gas Dishwasher | Gas Fryer | Gas Other | Gas Oven
Gas_Equipment | Electric_Fryer | Gas_Oven | Energy-efficient commercial conveyor broilers, > 26" wide | Electric dishwasher high temp – single tank conveyor | Freezer, glass door, self-contained (50+ cubic ft) |  | Electric griddle – up to 36” | Electric hot food holding cabinets – full size | Electric ice machine, remote cond./split unit, continuous 1,750 lb/day | Induction Cooktop | Electric combination oven | Refrigerator, solid door, self-contained (< 15 cubic ft) | Gas dishwasher high temp – door type | Gas fryer - standard vat | Gas griddle with 3 ft countertop width | Gas combination oven
Electric_Equipment | Griddle |  |  | Electric dishwasher high temp – under counter | Freezer, solid door, self-contained (< 15 cubic ft) |  | Electric griddle – over 36” | Electric hot food holding cabinets – ¾ size | Electric ice machine, self-contained 200 lb/day | Electric steam cooker | Electric convection oven (full size) | Refrigerator, solid door, self-contained (15-29.9 cubic ft) | Gas dishwasher high temp – multi-tank conveyor | Gas fryer – large vat | Gas pre-rinse spray valve | Gas convection oven
| Hot_Folding_Cabinet |  |  | Electric dishwasher low temp – door type | Freezer, solid door, self-contained (15-29.9 cubic ft) |  |  | Electric hot food holding cabinets – half size | Electric ice making, head 0-500 lb/day | On-demand commercial electric hand wrap machine | Electric convection oven (half size) | Refrigerator, solid door, self-contained (30-49.9 cubic ft) | Gas dishwasher high temp – pot, pan, utensil |  | Gas steamer | Gas conveyor oven
| Ice_Machine |  |  | Electric dishwasher low temp – multi-tank conveyor | Freezer, solid door, self-contained (30-49.9 cubic ft) |  |  |  | Electric ice machine, remote cond./split unit, batch 1,250 lb/day |  | Commercial electric deck ovens | Refrigerator, solid door, self-contained (50+ cubic ft) | Gas dishwasher high temp – single-tank conveyor |  |  | Gas rack oven
| Electric_Other |  |  | Electric dishwasher low temp – single-tank conveyor | Freezer, solid door, self-contained (50+ cubic ft) | [6 empty] | Refrigerator, glass door, self-contained (< 15 cubic ft) | Gas dishwasher high temp – under counter
| Electric_Oven |  |  | Electric dishwasher low temp – under counter | Ultra-low temp freezers | [6 empty] | Refrigerator, glass door, self-contained (15-29.9 cubic ft) | Gas dishwasher low temp – door type
| Refrigerator | [10 empty] | Refrigerator, glass door, self-contained (30-49.9 cubic ft) | Gas dishwasher low temp – multi-tank conveyor
[12 empty] | Refrigerator, glass door, self-contained (50+ cubic ft) | Gas dishwasher low temp – single-tank conveyor
[12 empty] | Refrigerated chef bases, 35-54” | Gas dishwasher low temp – under Counter
Refrigerated chef bases, 55-73”
Refrigerated chef bases, 74-89”
Refrigerated chef bases, 90-120”

## 17- Kitchen Hood VFDs
Click to go back to the Project Summary tab | Kitchen Hood VFDs
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Incentives
Lesser of: Electric Incentive: greater of $0.40/kWh OR $1,000.00/summer peak kW Natural Gas Incentive: $6.00/CCF 95% of Incremental Cost for New Construction/ Major Renovation, 75% of Incremental Cost for New Equipment or Replacement Equipment *Oil and Propane Incentives Not available
Months included (input 0 if month not included in analysis and 1 if it is)
|  | January | February | March | April | May | June
Months
|  | July | August | September | October | November | December
| Occupied Hours | Weekday | Weekend
| Midnight to 8am |  |  | Input occupied hours for time periods shown.
| 8am to 4pm |  |  | Input occupied hours for time periods shown.
| 4pm to Midnight |  |  | Input occupied hours for time periods shown.
Kitchen Hoods Proposed
| Unit Description | HP | Load Factor | Motor Efficiency | CFM | EER | Burner Efficiency | Heating Setpoint (⁰F) | Cooling Setpoint (⁰F) | Additional Cost to Add Controls
| Hood #1 (EXAMPLE) | 1 | 80% | 85% | 2200 | 12 | 80% | 70 | 75 | 2000
Provide any additional information relevant to this project.

## 18 - Insulation
Click to go back to the Project Summary tab | Insulation
NOTE: Please use the retrofit data collection sheet if this measure is not for new construction.
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Note: Provide architectural drawings highlighting where the insulation levels are shown and/or a proposal from your vendor showing the insulation values, spaces, and square footages that can be used to validate the data input below. Insulation levels must exceed code requirements.
Incentives
Lesser of: Electric Incentive: greater of $0.40/kWh OR $1,000.00/summer peak kW Natural Gas Incentive: $6.00/CCF 95% of Incremental Cost *Oil and Propane Incentives Not Available.
| Occupied Hours: | Weekday | Weekend
| Midnight to 8am |  |  | Input occupied hours for time periods shown.
| 8am to 4pm |  |  | Input occupied hours for time periods shown.
| 4pm to Midnight |  |  | Input occupied hours for time periods shown.
Heating Temp Setpoint
Cooling Temp Setpoint
Setback Degrees
Heating System Efficiency (Default= 80%)
Building Balance Point
Percent of Building Being Cooled
Cooling System EER
|  | Heating Fuel Type | (Drop Down)
Incremental Cost of Insulation
| Area A |  |  | Area B
|  | Area A Description |  |  | Area B Description
|  | Total SF Area A |  |  | Total SF Area B
|  | Baseline U Value |  |  | Baseline U Value
|  | Proposed U Value |  |  | Proposed U Value
| Area C |  |  | Area D
|  | Area C Description |  |  | Area D Description
|  | Total SF Area C |  |  | Total SF Area D
|  | Baseline U Value |  |  | Baseline U Value
|  | Proposed U Value |  |  | Proposed U Value
| Provide any additional information relevant to this project. |  |  |  |  | Roof: Insulation Entirely Above Deck
Roof: Metal Building
Roof: Attic and Other
Walls, Above-Grade: Mass
Walls, Above-Grade: Metal Building
Walls, Above-Grade: Steel-Framed
Walls, Above-Grade: Wood-Framed and Other
Walls Below-Grade
Note on C25: This is the added cost to go from an IECC 2015 code compliant U value to the proposed U values

## 19- Insulation (hidden)
Insulation
|  | Project Name: | #REF!
|  | Heating Temperature Setpoint | Occupied Hours | Weekday | Weekend
|  | Cooling Temperature Setpoint | Midnight to 8am
|  | Setback Degrees | 8am to 4pm
|  | Heating Fuel Type (Electric, natural gas, or other) | 4pm to Midnight
|  | Heating System Efficiency | Percent of Building Cooled
|  | Building Balance Point | Cooling EER
| Area A (description) |  | Area B (description) |  |  | Area C (description) |  | Area D (Description)
|  | Total Square Footage of Area A |  | Total Square Footage of Area B |  |  | Total Square Footage of Area C |  | Total Square Footage of Area D
|  | Baseline U Value |  | Baseline U Value |  |  | Baseline U Value |  | Baseline U Value
|  | Proposed U value |  | Proposed U value |  |  | Proposed U value |  | Proposed U value
Note on E4: Michael Ghilani: Input occupied hours for time periods shown.
Note on F4: Michael Ghilani: Input occupied hours for time periods shown.
Note on C9: Michael Ghilani: OA Temperature where no heating or cooling is required.
Note on C14: Jordan S Schellens: Based on IECC 2012
Note on E14: Jordan S Schellens: Based on IECC 2012
Note on H14: Jordan S Schellens: Based on IECC 2012
Note on J14: Jordan S Schellens: Based on IECC 2012

## 19- Windows
Click to go back to the Project Summary tab | Windows
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Note: Provide architectural drawings highlighting where the windows are shown and/or a proposal from your vendor showing the efficiency ratings, orientation, and window sizes that can be used to validate the data input below. Windows must exceed code requirements.
Incentives
Lesser of: Electric Incentive: greater of $0.40/kWh OR $1,000.00/summer peak kW Natural Gas Incentive: $6.00/CCF 95% of Incremental Cost for New Construction/ Major Renovation, 75% of Incremental Cost for New Equipment or Replacement Equipment *Oil and Propane Incentives Not available
|  | Heating Temperature Setpoint | Occupied Hours | Weekday | Weekend
|  | Cooling Temperature Setpoint | Midnight to 8am
|  | Setback Degrees | 8am to 4pm
|  | Heating Fuel Type (Electric, Natural Gas, Oil,Propane) | 4pm to Midnight
|  | Heating System Efficiency | Percent of building cooled
|  | Baseline U Value | Cooling EER
|  | Building Balance Point | Incremental Cost of Windows
| Side A |  | Side B |  |  | Side C |  | Side D
| N | Window Orientation | S | Window Orientation |  | E | Window Orientation | W | Window Orientation
|  | Total Window area |  | Total Window area |  |  | Total Window area |  | Total Window area
|  | Window U value |  | Window U value |  |  | Window U value |  | Window U value
|  | Window SHGC |  | Window SHGC |  |  | Window SHGC |  | Window SHGC
|  | Projection Factor |  | Projection Factor |  |  | Projection Factor |  | Projection Factor
| Side A |  | Side B |  |  | Side C |  | Side D
| N | Window Orientation | S | Window Orientation |  | E | Window Orientation | W | Window Orientation
|  | Total Window area |  | Total Window area |  |  | Total Window area |  | Total Window area
|  | Window U value |  | Window U value |  |  | Window U value |  | Window U value
|  | Window SHGC |  | Window SHGC |  |  | Window SHGC |  | Window SHGC
|  | Projection Factor |  | Projection Factor |  |  | Projection Factor |  | Projection Factor
| Side A |  | Side B |  |  | Side C |  | Side D
| N | Window Orientation | S | Window Orientation |  | E | Window Orientation | W | Window Orientation
|  | Total Window area |  | Total Window area |  |  | Total Window area |  | Total Window area
|  | Window U value |  | Window U value |  |  | Window U value |  | Window U value
|  | Window SHGC |  | Window SHGC |  |  | Window SHGC |  | Window SHGC
|  | Projection Factor |  | Projection Factor |  |  | Projection Factor |  | Projection Factor
| Side A |  | Side B |  |  | Side C |  | Side D
| N | Window Orientation | S | Window Orientation |  | E | Window Orientation | W | Window Orientation
|  | Total Window area |  | Total Window area |  |  | Total Window area |  | Total Window area
|  | Window U value |  | Window U value |  |  | Window U value |  | Window U value
|  | Window SHGC |  | Window SHGC |  |  | Window SHGC |  | Window SHGC
|  | Projection Factor |  | Projection Factor |  |  | Projection Factor |  | Projection Factor
Provide any additional information relevant to this project.
Note on E10: Input occupied hours for time periods shown.
Note on F10: Input occupied hours for time periods shown.
Note on E11: Input occupied hours for time period shown.
Note on F11: Input occupied hours for time period shown.
Note on E12: Input occupied hours for time period shown.
Note on F12: Input occupied hours for time period shown.
Note on E13: Input occupied hours for time period shown.
Note on F13: Input occupied hours for time period shown.
Note on D16: This is the added cost to go from an IECC 2015 code compliant window to the proposed window
Note on F16: This is the added cost to go from an IECC 2015 code compliant window to the proposed window

## 20- Custom Measure
Click to go back to the Project Summary tab | Custom Measure
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Note: Please provide energy savings and annual energy usage calculations in a format like Excel so underlying formulas can be displayed and followed.
Incentives
Lesser of: Electric Incentive: greater of $0.40/kWh OR $1,000.00/summer peak kW Natural Gas Incentive: $6.00/CCF 95% of Incremental Cost for New Construction/ Major Renovation, 75% of Incremental Cost for New Equipment or Replacement Equipment
Equipment being evaluated
Brief description of project and how energy savings will be achieved
Heating Source
Cost of Proposed System
Cost of Baseline System
Incremental Cost
Proposed EE System (fill out below as relevant)
Describe of Proposed System
Number of Units to be Installed
Cost per Unit
Operating Hours
Estimated Annual Energy Use (ccf or kWh)
Estimated Demand (Summer kW, Winter kW, annual & peak saving in CCF)
Baseline System (fill out below as relevant)
Describe of Baseline System
Cost per Unit
Number of Units to be Installed
Operating Hours
Estimated Annual Energy Use (ccf or kWh)
Estimated Demand (Summer kW, Winter kW, annual & peak saving in CCF)
Provide any additional information relevant to this project.

## 21- Air Compressor & Dryer
Click to go back to the Project Summary tab | Air Compressor & Dryer
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Green fields must have data for the output to be correct.
Load Profile & CAGI cells do not all need to be filled | [12 empty] | Active Fixture?
ACTIVE
Load Profile: |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
(2 loads min.) | Flow (cfm) | Run Time (hrs) | Description | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Load 1 |  |  |  | 0 | 0 | 0 | 0 | N | 0 | 0 | 0 | 1 | #REF!
Load 2 |  |  |  | 0 | 0 | 0 | 0 | N | 0 | 0 | 0 | 1 | #REF!
Load 3 |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Load 4 |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Compressor (CAGI Data sheets must be provided) |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Base Model |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Manufacturer: |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Model Number |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Cost Each |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Air or Water Cooled |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Oil Injected or Oil Free |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Compressor Type |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
# of Stages |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Number of Compressors: |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Rated Capacity @ Full Load Operating Pressure acfm |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Full Load Operating Pressure psig |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Drive Motor Nominal Rating hp |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Drive Motor Nominal Efficiency % |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Fan Motor Nominal Rating hp |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Fan Motor Nominal Efficiency % |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total Package Input Power @ Rated Capacity & Full Load Pressure kW |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Premium Energy Efficient Model (VFD control, other) |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Manufacturer: |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Model Number |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Cost Each |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Air or Water Cooled |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Oil Injected or Oil Free |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Compressor Type |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
# of Stages |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Number of Compressors: |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Rated Operating Pressure psig |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Drive Motor Nominal Rating hp |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Drive Motor Nominal Efficiency % |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Fan Motor Nominal Rating hp |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Fan Motor Efficiency % |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Input Power profile (kW): | xx (kW) | @ yy (cfm) |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Max. |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Min. |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total Package Input Power @ Zero Flow kW |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Refrigerated Air Dryer: |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Base Model |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Cost Each |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Manufacturer: |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Model Number |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Air or Water Cooled |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Cycling/Non Cycling |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tested Flow scfm |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
# of Air Dryers: |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Outlet Pressure Dewpoint °F |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Pressure Drop psi
Total Dryer Input Power kW |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Premium Energy Efficient Model |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Cost Each |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Manufacturer: |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Model Number |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Air or Water Cooled |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Cycling/Non Cycling |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tested Flow scfm |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
# of Air Dryers: |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Outlet Pressure Dewpoint °F |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Pressure Drop psi |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total Dryer Input Power kW |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Provide any additional information relevant to this project. |  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  |  | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## 22-Air Compressor Heat Recovery
Click to go back to the Project Summary tab | Air Compressor Heat Recovery
Participant must obtain conditional approval from the Utilities prior to the purchase or installation of any energy efficiency measures to be eligible to receive efficiency incentives. The following are required for ALL measures: (1) Proposal to customer (2) ALL specification sheets and supporting documents. (3) Data fields (in yellow) on applicable tabs MUST BE FILLED IN
Compressed Air Heat Recovery
For conditions where the air compressor takes in outside/indoor air to cool itself. This is not for water cooled compressors. This measure can effect heating or cooling of a building space but not both. See notes below. The occupied building space must be served by Electric air conditioning equipment or Natural Gas heating equipment and the customer must be on a firm rate. The sheet calculations are based on bin data analysis and the thermostat setpoint at which the system will automatically switch over to begin to recover heat. System must have automated control with motorized dampers, thermostatic control and correct control logic for safe compressor operation.
If the air compressor draws its cooling air from the outside or a separate mechanical room and does not currently exhaust this air into heated occupied building space then indicate "No" for Is Space Cooled.
If the air compressor is located in an occupied building space (not a separate back room) that is air conditioned and draws and exhausts its cooling air from this occupied space then indicate "Yes" for Is Space Cooled.
Program assumptions include 80% of compressor power generates waste heat. Of that 80%, only 80% of that will be effectively recovered to the space (skin losses of compressor and duct work). Space is assumed to have a heating system that is 80% efficient which is specified in the Program Savings Document.
INSTRUCTIONS
Enter the hours of operation for Production in relation to the weekday/weekend schedules. Calculation inputs include: location of compressor, whether the space the compressor is located is cooled in the Summer, installed cost for the automated heat recovery, whether this is for an existing system or part of a new compressor installation, compressor horsepower rating, number of compressors, full load air compresor capacity (cfm) and compressor load profile.
Compressor Hours
|  | Weekday | Weekend
| Midnight to 8am |  |  | Input occupied hours for time periods shown.
| 8am to 4pm |  |  | Input occupied hours for time periods shown.
| 4pm to Midnight |  |  | Input occupied hours for time periods shown.
| Building Systems Information |  |  |  | Note: Inputs in yellow fields
Compressor is existing
| How would you best describe the location of the compressor? | [5 empty] | Compressor is new
(Drop down list)
If other location:
compressor location
| No | Is space cooled?
|  | TOTAL INSTALLED COSTS |  |  |  |  | Located in conditioned space (heated /maybe cooled)
| Compressor Data | [5 empty] | Located in in a room with venting to the outside
| Compressor is new |  | Existing or New Compressor |  | (Drop down list) |  | Other -describe below
Compressor Rating (hp)
Compressor Qty.
Rated Capacity at Full Load Operating Pressure (cfm for each comp.) - CAGI
Yes
| Heating Fuel Type | [5 empty] | No
| Natural Gas | (Drop down list)
Facility Loads
| Loads | CFM | HRS
1
2
3
4
Note: Discussions with the customer in regards to the space where heat will be recovered to are required. If space is positively pressured, it is highly recommended to take air from interior space for heat recovery during heating season. If space is negatively pressured, intake air from either the interior space or outside will help with infiltration losses.
Provide any additional information relevant to this project.